Electrical and Electronic Formulas version 3

Copyright (C) 1990 - 1992 Miller

Introduction:

This program contains a collection of basic electrical and electronic

formulas, found in any electrical engineering handbook.  The software

includes the most commonly used formulas, and when required, should

lessen the need of looking up individual formulas.

This software is able to take advantage of a math coprocessor,

although this is not a requirement to obtain satisfactory results.

Differences:

This release contains all the features of previous versions, plus a

choice of calculators, either algebraic or Reverse Polish Notation.

The Reverse Polish Notation style is more commonly known as a RPN.

The electronics section now contains a color code chart.

The electrical section now includes junction box sizing, a motor full

load current chart, and a wire ampacity chart.

All options are now set in configuration area, instead of on the

command line, all previous command line support has been removed.

Some additional maintenance changes were also implemented in this

version.

File Index:

EEF    .EXE : 78641 Bytes, Electrical and Electronic Formula program

EEF    .DOC : 20021 Bytes, file containing general program information

EEFELEC.DBF : 21280 Bytes, file containing the world wide voltage chart

EEFHELP.DBF : 12880 Bytes, file containing general help information

System Requirements:

This software has been successfully tested on systems with 8086,

8088, 80286, and 80386 processors, with and without a coprocessor

installed.  This software will run successfully, within your system,

if it meets the following minimum requirements.

A:IBM/XT compatible computer

B:DOS version 3.0 or later

C:At least 256K free memory

D:CGA color monitor

E:Floppy or hard disk drive

Installation:

The program, including support files, is compact enough that it will

run satisfactorily on a single floppy disk.  A hard drive should be

used, if available, this will allow faster access to the data files.

To install the software on a hard drive type each of the following

lines into the computer, at the DOS prompt.

MD FORMULA                  <ENTER>    Make a working directory.

COPY A:EEF*.* C:\FORMULA /V <ENTER>    Copy files to new directory.

CD\FORMULA                  <ENTER>    Change to working directory.

EEF                         <ENTER>    Execute the program.

A batch file may be created to allow easier loading of the program.

This file should be located in the root directory of the hard drive.

Type each of the following lines into the computer, at the DOS

prompt, to create the batch file.

COPY CON C:\EEF.BAT         <ENTER>    Copy input into file.

CD\FORMULA                  <ENTER>    Change to working directory.

EEF.EXE                     <ENTER>    Execute the program.

^Z                          <ENTER>    End of input.

If the DOS path variable includes the root directory, the user is not

required to change directories, before execution.  Refer to your

DOS manual for instructions on using the path command.

Command Line Options:

Command line options were removed from this version.  See the

configuration section on setting up all program options.

General Information:

Make a selection from the main and sub menus, by pressing the

appropriate key.  A description of the area you have accessed is

explained at the top of the screen.  Several prompts will be displayed,

these require user input, if any require more than a single character

response then a data entry window will be opened.  The first

characters that have been keyed in will be eliminated if an overflow

occurs.  The BACKSPACE key may be used to delete any characters that

were keyed in incorrectly. Press the ENTER key to complete the

process.  When all the necessary data has been entered the program

will solve for the unknown value, or perform a conversion, depending

on which section you are in.

The ESC key is always enabled, and may be used in any area.  Pressing

this key once will return you to the first data entry point on the

current screen.  This is very useful if you discover an incorrect

entry.  Pressing the ESC key again will cause the most recent menu to

be displayed.  Use this method to trace your steps back to the main

menu, and to exit from the program.

Configuration Options:

This section is accessible from the main menu, and allows four items

to be set up to suit the user.  These options include foreground and

background colors, calculator type, and sound generation.  The options

are displayed, individually,  at the bottom of the screen.  If a

change is necessary, simply key in the appropriate numeric values and

press the ENTER key.  If no change is required, then press the ENTER

key to go on to the next item.  All the options are listed below, with

the range of acceptable input values.

Foreground color : Range 0 - 15       The default is white.

Background color : Range 0 - 7        The default is black.

Calculator type  : Range 0 - 1        The default is algebraic.

0 = Algebraic

1 = RPN (Reverse Polish Notation)

Sound            : Range 0 - 1        The default is sound on.

0 = On

1 = Off

The foreground and background colors cannot be set to the same value.

An error message will be displayed if this should occur.  Please refer

to the information area concerning the calculator, for assistance in

making your selection.  Use the ESC key to exit this section, upon

leaving all changes will be automatically saved in the EEF.DAT file.

Electronics Overview:

This section is accessible from the main menu, and allows the user

access to various fundamental electronic formulas.  The total

capabilities of this section are detailed below.  In addition, there

is a standard electronics color code chart.

A:Ohms law (DC)                H:Impedance

B:Ohms law (AC)                I:Reactance

C:Resistance total             J:Resonance

D:Capacitance total            K:Admittance

E:Inductance total             L:Susceptance

F:Mutual inductance            M:Conductance

G:Coupled inductance

Most areas will compute several different derivatives of a formula.

For instance, the resonance area can solve not only for resonance,

but also capacitance, or inductance.  In areas where this is possible,

you will be given several choices.  Then by user selection, the

formula for the specified quantity will be performed.  The formula

used is displayed on the screen at the end of all computations, with

a time and date stamp.  The standard print screen function may be

utilized in obtaining a print out.

The conventional method of declaring component values may be used.

Impedance, reactance, and resistance may be input using the standard

K and M notation, representing kilohm and megohm respectively.  The

default unit of measure for these values is the ohm.

Capacitance may be input using the standard M and P notation,

representing microfarad and picofarad respectively.  The default unit

of measure for capacitance is the farad.

Inductance may be input using the standard M notation, representing

millihenry.  The default unit of measure for inductance is the henry.

Frequency may be input using the standard K and M notation,

representing kilohertz and megahertz respectively.  The default unit

of measure for frequency is the hertz.

Power may be input using the standard K and M notation, representing

kilowatt and megawatt respectively.  The default unit of measure for

power is the watt.

Electrical Overview:

This section is accessible from the main menu, and allows the user

access to various fundamental electrical formulas.  All available

functions are exhibited below, in addition to this, there is a motor

full load current and wire ampacity chart.

A:Efficiency                   H:Fuse sizing

B:Power factor                 I:Wire sizing

C:Amperes from horsepower      J:Conduit sizing

D:Amperes from kilowatts       K:Junction box sizing

E:Amperes from kva             L:Wire resistance

F:Kilowatts                    M:Voltage drop

G:Kilovolt-amperes             N:KVAR capacitor sizing

O:Supply system conversion

The left column represents formulas that may be used for calculating

both single and three phase circuits.  The other formulas are not

phase dependant and may be used for any circuit configuration.

Efficiency and Power Factor are calculated and displayed on the

screen as a percent value.  When entering data at an efficiency or

power factor prompt, the input must be made as a percent value.

The supply system area calculates the current draw, by a load, on any

conventional power system.  This is convenient for 60hz to 50hz

conversions.  The formula used to arrive at the result is displayed on

the screen at the end of most calculations.  The standard print screen

function may be utilized in obtaining a print out.

Number Systems:

This section is accessible from the main menu and allows the user

access to a numeric evaluation area.  This section will evaluate, and

convert a numeric value to an equivalent value in another system.  A

box is used to indicate the current system type.  Use the space bar to

toggle between the displayed number systems.  Once you have entered

the data to be converted, simply press the ENTER key, and the

equivalent values will be displayed for all systems simultaneously.

When entering a binary value you can use the left and right arrow keys

to assist in locating the cursor to a particular bit position. The

BACKSPACE key is used to reset the individual bits to zero.  Pressing

the 1 or 0 key sets the bits, then automatically moves the cursor to

the next lower bit position.

The upper and lower limits for any conversion is detailed below.

Decimal (base 10) : +/-1048575

Binary  (base 02) : 1111 1111 1111 1111 1111

Octal   (base 08) : 3777777

Hex     (base 16) : FFFFF

If a value outside of these limits is entered, or calculated, an error

message will be displayed on the monitor screen.

World Wide Voltage:

This section is accessible from the main menu, and allows the user

access to a unique information area. Data is provided on the electric

power supplied to consumers in various countries.  The list covers a

wide range of topics that include frequency, system type (wye/delta),

single phase voltage, and three phase voltage, when available.  All

of the voltages listed are of the alternating current type.

Perhaps a brief explanation of wye and delta system will be of

some benefit here.  A wye or star system has a high voltage that is

1.732 times the low voltage, a good example of this is in the

120/208 wye configuration.  The delta system however, has a high

voltage that is 2 times the low voltage, as in the 120/240 delta

configuration.  This is typical of all power systems, regardless

of type, or location.

A single voltage listed under the single phase column indicates that

the consumer has only the one voltage available.  The service will

consist of two wires, one phase wire and one neutral wire.  For some

countries two voltages are listed under this column, indicating

that a three wire service is provided, two phase wires and one

neutral wire.  A three phase service, when available, will normally be

furnished with four wires, three phase wires and one neutral wire. The

high voltage listed may be either single or three phase, but the low

voltage will always be single phase.

Helpful Information:

This section is accessible from the main menu, and provides the user

with a quick on-line reference guide.  The information contained in

this section is principally the same as what is found in this file.

On-screen Calculator:

This tool is accessible from anywhere in the program, entry is

gained by simply pressing the F1 key.  A list of special features is

always displayed with the calculator, for quick reference.  It's total

capabilities, include the four basic functions, squaring, square root,

reciprocal, and exponential math.  An additional enhancement is the

ability to export the current value in the display back to the main

program, for further use.

There are two types of calculators available, an algebraic, and a RPN

style, commonly known as Reverse Polish Notation.  The major

differences between the two styles is the way in which the data is

entered.  Standard algebraic notation places the operators between the

numeric data, but Reverse Polish Notation places the operators after

the numeric data.  Some sample comparisons are detailed below.

Problem (2 + 5 - 3 = ?):

Algebraic                     RPN

Keystroke   Display        Keystroke   Display

2                          2

+       2.000...        <ENTER>    2.000...

5                          5

-       7.000...           +       7.000...

3                          3

=       4.000...           -       4.000...

Problem (12 * 10 / 5 = ?):

Algebraic                     RPN

Keystroke   Display        Keystroke   Display

12                         12

*      12.000...        <ENTER>   12.000...

10                         10

/     120.000...           *     120.000...

5                          5

=      24.000...           /      24.000...

Problem (20 - 10 + 30 / 5 = ?):

Algebraic                     RPN

Keystroke   Display        Keystroke   Display

20                         20

-      20.000...        <ENTER>   20.000...

10                         10

+      10.000...           -      10.000...

30                         30

/      40.000...           +      40.000...

5                          5

=       8.000...           /       8.000...

The function keys provide the calculator with some important extended

functions, these include the following.

F(1) - Clear the display

Pressing this key once clears the numeric entry in progress,

pressing the key again will clear the entire calculator.

F(2) - Change sign

Pressing this key toggles the display from positive to negative.

F(3) - Export result

Pressing this key will take the value in the display and place

it in the data window of the main program.  This function will

export back to the electrical and electronic sections, if a

window is displayed. The function is also allowed in the

number system conversion area, if the decimal system is

currently selected.

F(4) - Pi

Pressing this key will place the constant Pi in the display.

F(5) - Square

Pressing this key will square the number in the display.

F(6) - Reciprocal

Pressing this key will give the reciprocal of the number

in the display.

F(7) - Square root

Pressing this key will give the square root of the number

in the display.

F(8) - Exponential math

Pressing this key will give the exponential result of the last

numeric values keyed in to the calculator.  An example follows.

Algebraic                     RPN

Keystroke   Display        Keystroke   Display

2                          2

+       2.000...        <ENTER>    2.000...

3                          3

F(8)      8.000...         F(8)      8.000...

When using the algebraic mode, one of the following keys must be

used to load the initial value, these include + - * / =.  Also, the

ENTER key may be substituted for the EQUAL key, at any time.  All

functions can be chained together, excepting exponential math, this

feature requires both allocated storage areas.  Select the calculator

you are most comfortable with in the configuration section, accessible

from the main menu.

Disclaimer:

The author accepts no responsibility for the application of this

software, the result obtained, any errors or omissions contained

herein.  This material is subject to change without notice.

Comments:

The author welcomes all comments and inquiries, input from users

is very important to future releases of this software.  You may contact

me via E-mail on the listed services, or at the address below.

Compuserve (73407,546)

Prodigy    (MHDW64A)

Registration:

This program is copyrighted, and is offered as shareware software.

If you find this software useful, and plan to retain and use it, then

please register the program.  Your registration entitles you to

a copy of the latest version of this software and notification of

future updates.  Please send this form, with $20.00, to the author at

the address below.

Name:___________________________________________________________

Address:________________________________________________________

City, State:____________________________________________________

Zip Code:_______________________________________________________

Country:________________________________________________________

Version You Are Using:________________Media Type________________

(5.25 / 3.50 Diskette)

Gregory J. Miller

2303 Bennington Place

Maryland Heights, Mo. 63043

----------------end-of-author's-documentation---------------

Software Library Information:

This disk copy provided as a service of

Public (software) Library

We are not the authors of this program, nor are we associated

with the author in any way other than as a distributor of the

program in accordance with the author's terms of distribution.

Please direct shareware payments and specific questions about

this program to the author of the program, whose name appears

elsewhere in  this documentation. If you have trouble getting

in touch with the author,  we will do whatever we can to help

you with your questions. All programs have been tested and do

run.  To report problems,  please use the form that is in the

file PROBLEM.DOC on many of our disks or in other written for-

mat with screen printouts, if possible.  PsL cannot debug pro-

programs over the telephone, though we can answer questions.

Disks in the PsL are updated  monthly,  so if you did not get

this disk directly from the PsL, you should be aware that the

files in this set may no longer be the current versions. Also,

if you got this disk from another vendor and are having prob-

lems,  be aware that  some files may have become corrupted or

lost by that vendor. Get a current, working disk from PsL.

For a copy of the latest monthly software library newsletter

and a list of the 4,000+ disks in the library, call or write

Public (software) Library

P.O.Box 35705 - F

Houston, TX 77235-5705

1-800-2424-PSL

MC/Visa/AmEx/Discover

Outside of U.S. or in Texas

or for general information,

Call 1-713-524-6394

PsL also has an outstanding

catalog for the Macintosh.