Small businesses have been some of the most vocal critics of the

Americans with Disabilities Act, at least in part due to

misunderstandings about its requirements and enforcement process.

The U.S. Department of Justice has now published a guide

specifically to assist small businesses in voluntarily complying

with ADA.  Let's help them become informed!

Jamal Mazrui

National Council on Disability

Email: 74444.1076@compuserve.com

----------

(cover)

U.S. DEPARTMENT OF JUSTICE

Civil Rights Division

Disability Rights Section

Americans with Disabilities Act

ADA Guide for Small Businesses

(page i)

Reproduction

Reproduction of this document is encouraged.

Disclaimer

The ADA authorizes the Department of Justice to provide technical

assistance to individuals and entities that have rights or

responsibilities under the Act. This document provides informal

guidance to assist you in understanding the ADA and the Department's

regulation. However, this technical assistance does not constitute

a legal interpretation of the statute.

(page ii)

Table of Contents

Introduction 1

The Americans with Disabilities Act 1

Businesses that Serve the Public Public Accommodations 2

Existing Facilities 2

Architectural Barriers 3

Removing Architectural Barriers 3

Priorities for Barrier Removal 3

Examples of Barrier Removal 3

Accessible Parking 4

Accessible Entrance 6

Doors at Entrances to Businesses 8

Turnstiles and Security Gates at Entrances 8

Shelves and Maneuvering Space 10

Sales and Service Counters 11

Serving Counters 12

Fixed Seating and Tables 13

Policies and Procedures 14

Communicating with Customers 14

Tax Credits and Deductions 14

New Construction and Alterations 15

ADA Information Sources 15

(page 1)

Introduction

This guide presents an informal overview of some basic ADA

requirements for small businesses that provide goods or services

to the public. It omits many of the "legal" terms

that are found in the ADA and its regulations. But because

it would be misleading to separate any explanation of ADA

requirements from the law, references to key sections of the

regulations or other information are included.

sidebar

To get answers to questions about the ADA or to learn more

about the law call the

Department of Justice ADA Information Line,toll-free

(1-800-514-0301 voice and 1-800-514-0383 TDD).

photo - street scene showing the fronts of three small businesses

with a short ramp at each entrance - a cleaners, a frame shop

and a restaurant

The Americans with Disabilities Act

The Americans with Disabilities Act (ADA) is a Federal civil

rights law that prohibits the exclusion of people with disabilities

from everyday activities, such as buying an item at the store,

watching a movie in a theater, enjoying a meal at a local

restaurant, exercising at the local health club or having

the car serviced at a local garage. To meet the goals of the

ADA, the law established requirements for private businesses

of all sizes. These requirements first went into effect on

January 26, 1992, and continue for both for-profit and non-

profit organizations.

For small businesses, compliance with the ADA is not difficult.

To help businesses with their compliance efforts, Congress

established a technical assistance program to answer questions

about the ADA. Answers to your questions about the ADA are

a phone call away. The Department of Justice operates a toll-

free ADA Information Line (800- 514-0301 voice and 800-514-

0383 TDD). In addition, tax credits and deductions were established

that can be used annually to offset many costs of providing

access to people with disabilities.

In recognition that many small businesses can not afford to

make significant physical changes to their stores or places

of business to provide accessibility to wheelchair users and

other people with disabilities, the ADA has requirements for

existing facilities built before 1993 that are less strict

than for ones built after early 1993 or modified after early

1992.

(page 2)

Private Businesses that Serve the Public Public Accommodations

Private businesses that provide goods or services to the public

are called public accommodations in the ADA. The ADA establishes

requirements for twelve categories of public accommodations,

including stores and shops, restaurants and bars, service

establishments, theaters, hotels, recreation facilities, private

museums and schools and others. Nearly all types of private

businesses that serve the public are included in the categories,

regardless of size.

If you own, operate, lease, or lease to a business that serves

the public, then, you are covered by the ADA and have obligations

for existing facilities as well as for compliance when a facility

is altered or a new facility is constructed. Existing facilities

are not exempted by "grandfather provisions" that

are often used by building code officials.

(sidebar)

This booklet focuses on businesses that provide goods and

services to the public.

These businesses may be large or small and can be for profit

or non-profit.

two photos--both showing the entrances to a small business.

Each has one step at the entrance

Existing Facilities

Many business facilities were built without features that accommodate

people with disabilities, including people who use wheelchairs.

This lack of accessibility makes it impossible for many people

with disabilities to take part in everyday activities such

as going to work, eating in a restaurant or shopping in a

store. The ADA recognizes that, for people with disabilities

to participate in the everyday activities in their communities,

they need to have access to the goods and services provided

by businesses

While it is not possible for many businesses, especially small

businesses, to make their facilities fully accessible, there

is much that can be done without much difficulty or expense

to improve accessibility. Therefore, the ADA requires that

accessibility be improved without taking on excessive expenses

that could harm the business.

If you own or operate a business that serves the public you

must remove physical "barriers" that are "readily

achievable," which means easily accomplishable without

much difficulty or expense. The "readily achievable"

requirement is based on the size and resources of the business.

So larger businesses with more resources are expected to take

a more active role in removing barriers than small businesses.

The ADA also recognizes that economic conditions vary. When

a business has resources to remove barriers, it is expected

to do so; but when profits are down, barrier removal may be

reduced or delayed. Barrier removal is an ongoing obligation

-- you are expected to remove barriers in the future as resources

become available.

(page 3)

Architectural Barriers

Architectural barriers are physical features that limit or

prevent people with disabilities from obtaining the goods

or services that are offered. They can include parking spaces

that are too narrow to accommodate people who use wheelchairs;

a step or steps at the entrance or to part of the selling

space of a store; round doorknobs or door hardware that is

difficult to grasp; aisles that are too narrow for a person

using a wheelchair, electric scooter, or a walker; a high

counter or narrow checkout aisles at a cash register, and

fixed tables in eating areas that are too low to accommodate

a person using a wheelchair or that have fixed seats that

prevent a person using a wheelchair from pulling under the

table.

Removing Architectural Barriers

In evaluating what barriers need to be removed, a business

should look to the ADA Standards for Accessible Design as

a guide. These standards are part of the ADA Title III regulations.

Seeking input from people with disabilities in your community

can also be an important and valuable part of the barrier

removal process because they can help identify barriers in

your business and offer advice on what solutions may work.

When a business removes barriers, it should follow the design

requirements for new construction in the ADA Standards for

Accessible Design (Standards). In some cases, existing conditions,

limited resources or both will make it not "readily achievable"

to follow these Standards fully. If this occurs, barrier removal

measures may deviate from the Standards so long as the measures

do not pose a significant risk to the health or safety of

individuals with disabilities or others.

three photos--first shows a car parked in a parking space

that is designated as accessible but that lacks an access

aisle. Caption - These parking spaces are too narrow and lack

a wide access aisle so people who use wheelchairs cannot get

out of their vehicle

second photo shows an entrance to a restaurant with three steps.

Caption - Any step at the entrance can stop people from visiting

your business

third photo shows a ramp in front of a store that runs parallel

to the front of the store. An awning is located above the

ramp but it is too low. Caption - The awning and awning support

over the walk to the entrance

Priorities for Barrier Removal

When deciding which barriers to remove first, we suggest that

you first provide access to the business from public sidewalks,

parking, and public transportation and then provide access

to the areas where goods and services are made available to

the public. Once these barriers are removed, you should provide

access to public toilet rooms (if toilet rooms are provided

for customer use). When these barriers have been removed,

it may be necessary to remove any remaining barriers including

those that limit use of public telephones and drinking fountains.

The following examples illustrate common barriers and suggest

solutions that may be readily achievable. Each business must

decide on a case-by-case basis what constitutes "readily

achievable" barrier removal for their business.

(page 4)

Accessible Parking

When parking is provided for the public, designated accessible

parking spaces must be provided, if doing so is readily achievable.

An accessible parking space must have space for the vehicle

and an additional space located either to the right or to

the left of the space that serves as an access aisle. This

aisle is needed to permit a person using a wheelchair, electric

scooter, or other mobility device to get out of their car

or van. A sign with the international symbol of accessibility

must be located in front of the parking space and mounted

high enough so it is not hidden by a vehicle parked in the

space.

Accessible parking spaces should be the spaces closest to the

accessible entrance and be located on level ground. If it

is not readily achievable to locate accessible parking in

the closest spaces due to sloped pavement or other existing

conditions, then the closest level area should be selected.

An accessible route must be provided between the access aisle

and the accessible building entrance. This route must have

no steps or steeply sloped surfaces and it must have a firm,

stable, slip-resistant surface.

Van accessible spaces must have an access aisle that is at

least eight-feet wide and be designated by a sign with the

international symbol and "van accessible." There

should be a vertical clearance of at least 98 inches on the

vehicular route to the space, at the parking space, and along

the vehicular route to an exit.

Photo - Car parked in an accessible parking space that has

an eight foot wide access aisle located next to the car. Caption

- A Van Accessible Parking Space (1 of 8 of all accessible

parking spaces, but at least one, must be van accessible.

Although designated a van accessible space, cars may use the

space too.)

Notes for the photo -

Provide a parking space that is at least 8 feet wide. There

should be at least a 98 inch high clearance at the parking

space, the adjacent access aisle and along the vehicular route

to the space and vehicular exit.

Install a sign with the international symbol of accessibility

and "van accessible" and mount it high enough so

it is not hidden by the vehicle parked in the space.

Locate parking space and access aisle so that they are relatively

level (1:50 maximum slope in all directions is recommended

if readily

achievable)

Provide an access aisle that is at least 8 feet wide next to

the van parking space to permit a person using a wheelchair

or scooter to exit or enter a van with a side-mounted lift.

Provide an accessible route to the accessible entrance(s) to

the building - a marked crosswalk may be needed if route crosses

vehicular traffic.

(page 5)

Accessible parking spaces for cars must have an access aisle

that is at least five-feet wide. The other features are the

same as for vans, except that the sign designating the parking

space only has an international symbol of accessibility, and

there is no requirement for a minimum vertical height.

The number of accessible parking spaces that should be provided

is based on the total number of parking spaces that you provide.

For example, if your parking lot has 25 or fewer spaces, then

1 should be an accessible parking space. If it has 50 or fewer

spaces, it should have 2 accessible parking spaces.

If you provide only one accessible parking space, it also must

be a van accessible space. In facilities where more than one

accessible parking space is required, one of eight accessible

parking spaces must be van accessible.

Where parking is provided in several locations near building

entrances, the accessible parking should also be dispersed,

if doing so is readily achievable. Since van accessible parking

spaces are provided in limited numbers, it is often not possible

to disperse the van accessible parking spaces.

Photo--An accessible parking space with a five foot wide

access aisle located beside the parking space. Caption - An

Accessible Parking Space for Cars

Notes for photo

Note: locate accessible parking spaces as close as possible

to the accessible entrances and on an accessible route to

the building.

Install a sign with the international symbol of accessibility

and mount high enough so sign is not hidden by a vehicle parked

in the space.

Locate parking space and access aisle on relatively level ground

(1:50 maximum slope in all directions)

Two parking spaces may share a common access aisle (van or

car).

Install curb ramp where an accessible route crosses a curb

- note: curb ramp does not extend into the access aisle.

Note: Accessible parking spaces for cars must have an access

aisle that is at least five feet wide.

(page 6)

Accessible Entrance

Providing physical access to a facility from public sidewalks,

public transportation, or parking is basic to making goods

and services available to people with disabilities. Having

only one step at the entrance can prevent access by a person

using a wheelchair, walker, or cane and can make entry difficult

for many other people with mobility disabilities.

Where one or two steps exist at an entrance, access can be

achieved in a variety of ways--for example, by using an

alternate accessible entrance, adding a short ramp, modifying

the area in front or to the side of the entrance to eliminate

a step, or installing a lift.

When a business has two public entrances, in most cases, only

one must be accessible. The shop shown in the photo (bottom

right) has a street entrance and is also served by an accessible

entrance from the building lobby at the other side of the

store. Using the lobby entrance provides access to the store.

When one entrance is not accessible and another entrance is

accessible, a sign must provide direction to the accessible

entrance. The alternative entrance must be open during store

hours. If the alternative accessible entrance is not left

unlocked due to security concerns, you must provide an accessible

way for notifying staff to open the door, such as a buzzer

or bell. If used, the buzzer or call bell must be located

on an accessible route and mounted at an accessible height

(generally not more than 48 inches above ground).

When a ramp is added to provide an accessible entrance, the

slope of the ramp should be as shallow as possible but not

more than 1:12. It is also important to provide handrails

whenever the slope is more that 1:20 and the vertical rise

is greater than 6 inches (a slope of 1:20 means that for every

20 units of horizontal length there is one unit of vertical

rise or fall). It is best to grade the area that is adjacent

to the ramp to avoid an abrupt drop-off. If a drop-off exists,

then a barrier such as a raised edge or railing must be installed.

Edge protection is very important because it prevents people

from accidentally rolling off the edge of the ramp. The ramp

that is shown (page 6, top right ) uses railings and edge

protection. Edge protection could also be provided by a lower

railing installed parallel to the ramp surface.

photo - A front view of a store showing a ramp with handrails.

The ramp runs parallel to the front of the store. Caption

- A new ramp with edge protection, handrails and a wide

landing outside the entrance provide access to this business

notes on photo - Edge protection prevents people from rolling

over the edge of the ramp.

Wide landing accommodates turns needed to enter or exit the

store.

photo - A front view of a store with an entrance that is below

sidewalk level. Three steps lead down to the entrance. A sign

is provided to direct customers to the accessible entrance.

Caption - Signage provided at an inaccessible entrance provides

direction to another entrance that is accessible

note on photo - Example of a sign that directs customers to

the nearest accessible entrance. (sign has an international

symbol of accessibility, an arrow and accessible entrance

in Walnut Street Lobby)

(page 7)

The photo (upper right) illustrates another way to modify an

entrance to make it accessible. A level landing area is provided

in front of the entry door so a person can pull the door open.

The area adjacent to the landing is graded flush with the

landing so no drop-off exists between the landing and the

grass area eliminating the need for railings. The earth is

also graded flush with the ramp surface to eliminate a drop-

off.

photo (upper right) - Front of a hair salon with a ramp and

landing located at the entrance. Caption - A new landing,

ramp and lever door handle provide an accessible entrance

to this business.

notes:

Lever handle added to or in place of round door knob.

Landing extends 18" minimum beyond the edge of door and

60" minimum out from door.

New landing and ramp eliminates step at entrance.

Earth is graded up to landing and ramp to eliminate drop off.

Ramp slope max. 1:12 and width is 36" minimum

Another approach to providing access at an entrance is to use

a platform or folding lift. Lifts are mechanical devices that

can be used to transport a person using a wheelchair or scooter

up or down several feet. A lift may be a preferred solution

where little space exists for a ramp or when an entrance serves

more than one level. For example, had the bookstore shown

in the photo (page 6, bottom right) not had an alternate entrance

that was accessible, a lift could have been installed. Lifts

require periodic maintenance and must meet safety codes but

are worthwhile considerations when a ramp is not feasible.

Photo - view of the entrance to a restaurant which has three

steps. A sign on the front has we deliver and the telephone

number. Caption - Home delivery, take-out, curbside delivery

or other alternate service is required, if readily achievable,

when you cannot make an entrance accessible

When it is not readily achievable to provide an accessible

entrance, the goods and services must be provided in some

other way, if doing so is readily achievable. For example,

if a restaurant has several steps at the entrance and no accessible

entry is possible, providing home delivery or some alternative

service may be required. In other cases, it may be possible

to receive an order by telephone and to have a clerk bring

the order to the customer outside the store or business. If

alternative service is provided, it is important that it be

publicized so a customer knows how the goods and services

are offered.

(page 8)

Doors at Entrances to Businesses

Most entrances to stores and businesses use 36 inch wide doors

that are wide enough to be accessible. However, some older

doors are less than 36 inches wide and may not provide enough

width (32 inch clear width when fully opened). Door openings

can sometimes be enlarged. It may also be possible to use

special "swing clear" hinges that provide approximately

1 1/2 inches more clearance without replacing the door and

door frame.

Inaccessible door hardware can also prevent access to the business.

For example, the handle shown below requires the user to tightly

grasp the handle to open the door. Many people with mobility

disabilities and others with a disability that limits grasping,

such as arthritis, find this type of handle difficult or impossible

to use.

Illustration - view of panel-type door handle on an entry door

and a hand tightly grasping the handle. Caption - This panel-

type handle is not accessible because it requires the user

to tightly grasp the handle to pull the door open.

Other types of door hardware, such as a round door knob (which

requires tight grasping and twisting to operate) or a handle

with a thumb latch (see above--center) are also inaccessible

and must be modified or replaced, if doing so is readily achievable.

Illustration - view of hand using a loop handle with a thumb

latch. Caption - This handle with a thumb latch is not accessible

because one must grasp the handle and pinch down on the thumb

latch at the same time.

Changing or adding door hardware is usually relatively easy

and inexpensive. A round doorknob can be replaced with a lever

handle or modified by adding a clamp-on lever. In some cases,

a thumb latch can be disabled so the door can be pulled open

without depressing the latch or the hardware may be replaced.

A flat panel-type pull handle can be replaced with a loop-

type handle.

Illustration - view of a lever handle mounted on an entry door

with a hand pushing down on the lever. Caption - A lever handle

is accessible because it can be operated without tight grasping,

pinching or twisting.

Illustration - view of a loop-type handle with a hand slipped

around the handle. Caption - A loop-type handle is also accessible

because it can be used without grasping, pinching or twisting.

Turnstiles and Security Gates at Entrances

Businesses with narrow revolving turnstiles located at the

entrance exclude people with disabilities unless accessible

gates or passages are provided. Standard narrow turnstiles

are not usable by wheelchair users and by most people who

walk with crutches, walkers, or canes. Whenever a narrow turnstile

is used, an accessible turnstile, gate or opening must be

provided, if doing so is readily achievable.

Illustration - view of a turnstile with three rotating bars.

Caption - This type of turnstile is not accessible to most

people with disabilities.

(page 9)

If an inaccessible turnstile is located at the entrance to

the business and no accessible gate or entry is provided,

it must be replaced or removed or an alternative accessible

entrance provided, if doing so is readily achievable. For

most businesses, removing or altering the turnstile is not

difficult. For some businesses, providing an alternative accessible

entrance may be an acceptable solution if the business has

two or more doors that could function as entrances. For example,

a store that has an inaccessible turnstile at the entrance

but also has an exit door (with no turnstile) located near

the cash register may be able to use the exit door as an alternative

entrance. It may be readily achievable to add an accessible

door handle to the outside of the exit door, install a sign

that designates this door as the accessible entrance, and

permit people with disabilities to enter through the exit

door.

Eliminating the barrier caused by a turnstile may be accomplished

by simply removing the turnstile and leaving the opening.

To assure passage of people using wheelchairs, or crutches,

the opening must be at least 32 inches wide. If it is not

readily achievable to provide a minimum 32 inch wide opening,

then the opening should be as wide as possible. If a security

gate is required, then the turnstile may be removed and replaced

with an accessible gate, if readily achievable. Where a business

wishes to retain its standard turnstile, it may provide an

accessible gate adjacent to the turnstile.

Illustration - view of an open passage that is at least 32

inches wide. Caption - Removing the turnstile to provide an

accessible passageway.

Illustration - view of an accessible swinging gate (opening

32 inch minimum width) . Caption - An example of an accessible

gate.

Illustration - view of an accessible gate provided next to

a conventional turnstile. Caption - An accessible gate provided

adjacent to a turnstile.

(page 10)

Shelves and Maneuvering Space

After ensuring that its entrance is accessible, a business

must consider how people with disabilities will get to the

items that are sold or provided. When sales items are displayed

or stored on shelves for selection by customers, the store

must provide an accessible route to fixed shelves and displays,

if doing so is readily achievable.

If the maneuvering space adjacent to shelves and displays is

too narrow, the space should be widened. In general, a 36

inch wide accessible route is needed with a slightly larger

space provided at corners. If a 180 degree turn is needed

to exit an area, then a 60 inch diameter turning space or

a 36 inch wide "T" is needed. The space for a "

T" turn requires at least 36 inches of width for each

segment of the T and it must fit within a 60 inch by 60 inch

area.

Some businesses will have difficulty providing enough maneuvering

space between all displays and shelving without a significant

reduction in selling space that may substantially affect the

profitability of the business. This fact can be considered

in determining if it is readily achievable to provide access

to all sales areas. If access is not provided to all sales

areas, then alternative services such as having staff available

to retrieve items, must be provided,

if doing so is readily achievable. This also applies when merchandise

is located in areas served only by stairs.

photo - woman using a wheelchair with a child on her lap and

one standing beside maneuvering between displays in a bookstore.

caption - Provide a 36 inch minimum width route between displays

and shelves if readily achievable

notes:

Sales items may be located at any height

but sales staff should be available, on request, to reach items

for customers

Provide at least a 3' by 3' turning space at a corner for a

90 degree turn.

Sales merchandise, displays and other items can block access

and should not be placed in narrow aisles. These books block

the 3'-0" accessible route.

3'-0" minimum width to move between shelves, displays

and merchandise

It is not necessary to locate all merchandise within reach

of people who use wheelchairs. Items can be placed at any

height but staff should be available to assist customers who

may have difficulty reaching or viewing items.

photo - view of staff assisting customer using a wheelchair.

Caption - Sales staff retrieving items for customer.

Notes:

Staff assist customers by retrieving merchandise from shelves

and displays.

Staff should provide information about an item by reading labels

for people with a vision impairment.

(page 11)

Sales and Service Counters

When sales or service counters are provided, the counters must

be accessible, if doing so is readily achievable. This access

is an important part of receiving the goods and services provided

by a business.

At counters having a cash register, a section of counter at

least 36 inches long and not more than 36 inches above the

floor will make the counter accessible. This provides a lowered

surface where goods and services and money can be exchanged.

An alternative solution is to provide an auxiliary counter

nearby.

photo - view of an accessible counter with a cash register.

Person using an electric scooter is pulled parallel to the

counter and the cashier is exchanging money with the customer.

Caption - An accessible sales counter at a cash register.

notes:

Accessible counter is at least 36" long and no more than

36" above the floor

Provide a 30" by 48" space in front of the sales

or service counter to accommodate a wheelchair or electric

scooter

At sales and service counters, such as ticketing counters,

teller stations in a bank, registration counters in hotels

and motels, and other counters where goods or services are

sold or distributed a counter that is at least 36 inches long

and that is not more than 36 inches above the floor will make

the counter accessible. It is also possible to provide an

auxiliary counter nearby or to use a folding shelf or area

next to the counter, if doing so is readily achievable.

In addition to having a maximum height of 36 inches, all accessible

sales and service counters must have a clear floor space in

front of the accessible surface that permits a customer using

a wheelchair to pull alongside. This space is at least 30

inches by 48 inches and may be parallel or perpendicular to

the counter. It is also connected to the accessible route

which connects to the accessible entrance and other areas

in the business where merchandise or services are provided.

If you cannot provide an accessible sales or service counter

or auxiliary counter nearby, such as a table or desk, you

may provide a clip board or lap board for use until a more

permanent solution can be implemented.

Checkout aisles, such as in a grocery store, have different

requirements. An accessible checkout aisle should provide

a minimum of a 36-inch-wide access aisle and it should be

identified by a sign with the international symbol of accessibility

mounted over the aisle. The counter adjacent to the accessible

checkout aisle has a maximum height of 38 inches. If a lip

is provided between the counter and the checkout aisle, its

maximum height is 40 inches.

The number of accessible aisles that is needed depends on the

total number of checkout aisles provided. For example, if

one to four aisles are provided, then at least one should

be accessible. If more than five to eight aisles are provided,

then two accessible aisles are needed. Each type of checkout,

including express lanes, must have an accessible checkout

aisle.

The ADA Standards for Accessible Design provide detailed information

on the requirements for checkout aisles and for sales and

service counters.

(page 12)

Serving Counters

Where food or drinks are served at counters and the counter

height is more than 34 inches above the floor, providing a

lowered section of the serving counter at least 60 inches

long and no higher than 34 inches will make the counter accessible.

If it is not readily achievable to make the counter accessible,

a business can serve the items at nearby accessible tables,

if readily achievable.

When it is not readily achievable to provide an accessible

counter or bar area or service at accessible tables in the

same area, then a business should provide service in an alternative

manner, if doing so is readily achievable. This may include

offering to assist the customer by moving items to an accessible

counter or to their table in another area.

photo - staff serving items on a lowered counter. caption -

Lowered serving counter provides an accessible space to select

and receive food items.

note:

Door under counter can be opened to provide required knee clearance

when customers eat at the counter.

Self-service restaurants with a food service line must provide

adequate maneuvering space for a person using a wheelchair

to approach and move through the line, if doing so is readily

achievable. A minimum width of 36 inches should be provided

with a 42 inch width preferred, if readily achievable. If

the line changes direction, such as a 180 degree turn, an

extra wide turning space is needed. An alternative solution,

in an existing facility, is to provide an accessible route

around the queuing area.

If self-service condiments, utensils, or tableware are provided,

then they should be located no higher than 54 inches if a

side reach is possible or 48 inches for a forward reach (see

Section 4.2 of the ADA Standards for Accessible Design). If

it is not readily achievable to provide these items in an

accessible location, a business can provide staff assistance,

if doing so is readily achievable.

photo - person using a scooter pulled alongside a shelf that

has been installed to provide accessible condiments. Caption

- Lowered shelf provided for condiment items.

note:

Lowered shelf was added to provide an accessible surface for

preparing coffee.

(page 13)

Fixed Seating and Tables

If tables are provided, such as in restaurants and snack bars,

and the tables are attached to the wall or floor (fixed),

then 5% of the tables or at least one (if less than 20 are

provided) must be accessible, if doing so is readily achievable.

Accessible seating must be provided, if doing so is readily

achievable, at each accessible table to accommodate people

using wheelchairs. Movable chairs can be used for these tables

and the movable chairs can be removed when customers using

wheelchairs use the table(s).

The same requirements apply to fixed tables in outdoor areas

such as picnic areas, playgrounds or patios.

(sidebar)

When fixed seating or fixed tables are provided, accessible

seating must be provided, if readily achievable.

An accessible table has a surface height of no more than 34

inches and no less than 28 inches above the floor. At least

27 inches of knee clearance must be provided between the floor

and the underside of the table. An accessible route provides

access to each accessible table and a clear floor area 30

inches by 48 inches is provided at each accessible seating

location. This clear floor area extends 19 inches under the

table to provide leg and knee clearance.

If it is not readily achievable to provide the minimal number

of accessible tables in all areas where fixed tables are provided,

then the services must be provided in another accessible location,

if doing so is readily achievable. However, these alternate

location(s) must be available for all customers and not just

people with disabilities. It is illegal to segregate people

with disabilities in one area by designating it as an accessible

area to be used only by people with disabilities.

photo - two people using electric scooters eating at a fixed

table. Caption - Accessible seating positions at a permanently-

mounted table

notes:

Table height 34" maximum, 28" minimum

Knee clearance 27" minimum (from floor to bottom of table

surface)

Clear floor area of 30" by 48" needed at each seating

area

Knee clearance extends at least 19" under the table

(page 14)

Policies and Procedures

Businesses must review their policies and procedures for serving

customers and change those that exclude or limit participation

by people with disabilities. For example, if a store has a

policy to exclude all animals, the policy should be changed

to permit people who use service animals, such as "seeing-

eye-dogs" and "hearing-assist-dogs" to enter

the store with their service animals. A store that has a special

accessible entrance that remains locked during business hours

will need to change the policy and keep the door unlocked

when the store is open. If security is a problem, an accessible

call box or buzzer (identified by a sign and mounted in an

accessible location and height) should be installed to enable

people with disabilities to call staff to unlock the door.

A restaurant that restricts seating of people with disabilities

to one area must revise the policy to permit the range of

choices enjoyed by others.

Communicating with Customers

Customers who have hearing or speech disabilities may need

to communicate with sales staff without using speech. The

method of communication will vary depending the abilities

of the customers and on the complexity of the communications

that are required. For example, some people who are deaf are

able to use speech but unable to understand words spoken by

others while other people who are deaf are not able to communicate

with speech. People with speech or hearing disabilities may

require extra time to complete their message or extra attention

by staff to understand what is being said. When communication

by speech is not possible, simple questions, such as the price

of an item, may be handled with pen and paper by exchanging

written notes or a mixture of speech and written notes. Staff

should be aware of the need to use notes or both speech and

communication with pen and paper. It is appropriate to ask

the customer what is their preference for simple communication.

When more complex or lengthy communications are needed, it

may be necessary to provide a sign language interpreter in,

for example, negotiating the purchase of an automobile or

home. But most business communications with customers involve

only simple communications that can be done using pen and

paper.

Many people with hearing or speech disabilities use a telecommunications

device for the deaf (TDD) instead of a standard telephone.

This device has a keyboard for entering messages and a visual

display to view the content of a conversation from another

person using a TDD.

To make it easy for people who use a TDD to communicate with

businesses and individuals who do not have a TDD, the ADA

established a free state-by-state relay network nationwide

that handles voice-to-TDD and TDD-to-voice calls. Customers

who use a TDD to make telephone calls may telephone your business

using a relay network. The relay consists of an operator with

a TDD who translates TDD and voice messages. For example,

a caller using a TDD calls the relay operator who then calls

your business. The caller types the message into the TDD and

the operator reads the message to you. You respond by talking

to the operator who then enters your message into the TDD.

Tax Credits and Deductions

To assist businesses with complying with the ADA, Section 44

of the IRS Code allows a tax credit for small businesses and

Section 190 of the IRS Code allows a tax deduction for all

businesses.

The tax credit is available to businesses that have total revenues

of $1,000,000 or less in the previous tax year or 30 or fewer

full-time employees. This credit can cover 50% of the eligible

access expenditures in a year up to $10,250 (maximum credit

of $5000). The tax credit can be used to offset the cost of

undertaking barrier removal and alterations to improve accessibility;

providing accessible formats such as Braille, large print

and audio tape; making available a sign language interpreter

or a reader for customers or employees, and for purchasing

certain adaptive equipment.

The tax deduction is available to all businesses with a maximum

deduction of $15,000 per year. The tax deduction can be claimed

for expenses incurred in barrier removal and alterations.

To learn more about the tax credit and tax deduction provisions,

contact the DOJ ADA Information Line (see Information Sources

for the numbers).

(page 15)

New Construction and Alterations

The ADA requires that newly constructed facilities, first occupied

on or after January 26, 1993, meet or exceed the minimum requirements

of the ADA Standards for Accessible Design (Standards). Alterations

to facilities, spaces or elements (including renovations)

on or after January 26, 1992, also must comply with the Standards.

If you build a new facility or modify your existing one, (for

example, work such as restriping the parking area, replacing

the entry door or renovating the sales counter), make sure

to consult the Standards and the title III regulations for

the specific requirements. Renovations or modifications are

considered to be alterations when they affect the usability

of the element or space. For example, installing a new display

counter, moving walls in a sales area, replacing fixtures,

carpet or flooring, and replacing an entry door. However,

simple maintenance, such as repainting a wall is not considered

an alteration by the ADA.

Many communities also have State or local accessibility codes

enforced by local building inspectors. When a local accessibility

code exists, you must follow both the code and the ADA requirements.

ADA Information Sources

Department of Justice

ADA Information Line

The ADA Information Line is available during weekdays to provide

technical assistance on the ADA Standards for Accessible Design

and other ADA provisions applying to businesses, non-profit

service agencies and state and local government programs.

It also provides a 24 hour automated service for ordering

ADA materials.

800-514-0301 (voice)

800-514-0383 (TDD)

To download information by computer:

Electronic Bulletin Board

202-514-6193

Internet Access

http://www.usdoj.gov/crt/ada/adahom1.htm

Disability and Business Technical Assistance Centers (DBTACs)

The ten regional centers are funded by the Department of Education

to provide technical assistance on the ADA. One toll-free

number connects to the center in your region.

800-949-4232 (voice & TDD)

Access Board

Offers technical assistance on the ADA Accessibility Guidelines.

800-872-2253 (voice)

800-993-2822 (TDD)

Electronic Bulletin Board

202-272-5448

Equal Employment Opportunity Commission (EEOC)

The EEOC offers technical assistance on the ADA provisions

for employment which apply to businesses with 15 or more employees.

Employment questions

800-669-4000 (voice)

800-669-6820 (TDD)

Employment documents

800-669-3362 (voice)

800-800-3302 (TDD)

Local Libraries

Technical assistance materials including the title III regulations

that apply to businesses have been distributed to 15,000 libraries

nationwide. This collection, is known as the ADA Information

File. Contact your local or regional library to find if it

has the ADA Information File and where it is located. You

may also contact the regional DBTAC (800-949-4232) to obtain

the name of a local library that has the ADA Information File.